## EN
Checklist for Design Guidelines for Type A (Self-Built)_June 2022 |  |  |  |  | No. （YY.MM.DD）
| No | Contents | Participant Confirmation※ |  | Organiser Confirmation | General Entry Field
|  |  | 〇Applicable ーNot Applicable △Alternative measures | Comment※ （Relevant page no. or alternative measures, etc.) | Confirm | confirmation 〇Verified × needs confirmation | Comment field
3. Design Requirements
3-1.General Principles of Design
3-1-1.Genral Principles of Design
| C-01 | Participants must take necessary measures to appropriately manage and operate their pavilions, including visitor services, access and lines of flow, security, fire fighting/disaster prevention, cleaning and waste management, etc.
| C-02 | Participants must consider the most suitable pavilion structure for the ground conditions of the allocated plot and comply with the terms specified for construction and demolition. (For more information, please refer to “Annex 1: Information on Ground”)
| C-03 | Prior to commencing the construction of buildings and other structures, participants must submit an application for a building permit to have the buildings and other structures confirmed by building officials or a designated inspection body (designated by the Minister of Land, Infrastructure, Transport and Tourism or a governor of prefecture) that they comply with the provisions of the Building Standards Act. Participants also must ensure they receive a notification of building permit
| C-04 | If a participant’s intention to use new types of materials and construction methods results in partial non- conformity to the Building Standards Act, the participant must seek and receive permission from the Minister of Land, Infrastructure, Transport and Tourism in advance. (Article 38 of the Building Standards Act)
| G-01 | Pavilions need not be big. Based on the Theme and Subthemes of the Expo, it is recommended that participants should pursue to make aesthetic presentation of the country’s buildings, landscape, culture and natural resources and form seamless landscape in harmony with the Expo site as a whole.
| G-02 | It is recommended that participants should keep universal design in mind when planning their pavilion so that everyone can enjoy the Expo comfortably and with a sense of security. (For more information, please refer to “Universal Design Guidelines for Facility Implementation”.)
| G-03 | It is desirable to plan for universal design so that everyone can enjoy the exposition comfortably and safely. (For details, please refer to the "Universal Design Guidelines for Facility Development.)
3-2.Planning Conditions
3-2-1.Setbacks and building Coverrage
| C-05 | Participants must secure a setback of at least 10 m (at least 5 m in case of small plots) from the main line of flow (Main Street), other lines of flow (streets other than the Main Street), or the boundary of a plaza in front of the pavilion. However, such setback is required at only one side if the plot is at a corner; when, however, a corner plot faces the main line of flow, the setback must be secured at the side facing the main line of flow.
| C-06 | Participants must secure a setback of at least 1 m from the boundaries other than those specified in C-05 (an adjacent plot and the boundary of the line of flow of service providers at the back of the pavilion).
| C-07 | The maximum building coverage must be 70 % or lower.
| C-08 | Participant must comply with provisions set out in the plot sheet in respect to the details of setbacks in each plot, plot area, and maximum building coverage (the maximum building-to-land ratio).
| C-09 | Participants must ensure that visitors can easily access to the pavilion from the main line of flow (Main Street) or a plaza in the Pavilion World.
3-2-2. Height and Size of Pavilions
| C-10 | The height of pavilions must be 12 m or lower. If, however, the total horizontal sectional area of a pavilion at a height exceeding 12 m is 50% or less of the pavilion’s building area, the height of the pavilion can be up to 17 m when the pavilion is located on the inner side from the main line of flow (Main Street) or up to 20 m when the pavilion is located on the exterior side from the main line of flow.
| C-11 | Participants can decide the number of floors, but the overall height of the pavilion must comply with the provision above.
| G-04 | On the grand roof (ring) over the main line of flow (Main Street) will be an aerial corridor, which will offer visitors a bird’s-eye view of the entire Expo venue with many pavilion buildings. Thus, it is recommended that participants should take due care of landscape (finishing, greening, screens, etc.) in respect to the roof floor of the pavilion as well as the external wall of the rear of the pavilion.
3-2-3. Conditions of Plot Boundary
| C-12 | In order to secure the access of emergency vehicles and appropriate evacuation routes, participants must not erect railings and fences without a break along the boundary at the front of the pavilion (a part facing the main line of flow (Main Street) or a plaza) and at the back thereof (a part facing the line of flow of service providers). In the case a participant intends to erect railings and fences, it must ensure that the railings and fences have multiple entrances with adequate width. However, if it is necessary for the operation of pavilion and other purposes, erecting railings and fences along the boundary with adjacent plots is allowed.
| C-13 | Participants must design a landscape in harmony with public spaces at the front of the pavilion facing the main line of flow (Main Street) or a plaza.
| G-05 | It is recommended that participants should cooperate and coordinate with the participant(s) to which the adjacent plot(s) are allocated.
3-2-4.Approch to Massing
| G-06 | It is recommended that participants should consider massing based on a variety of scenarios.
3-3.Design Consideration for Better Operation
3-3-1. Queue Management
| C-14 | If visitors of a pavilion are expected to stand in a queue, the queue must be contained within the plot of the pavilion.
| G-07 | It is recommended that participants should design a queue area based on the level-of-service D defined by J. J. Fruin.
| G-08 | It is recommended that participants should adopt a reservation system to avoid a long queue.
| G-09 | In order to provide visitors in the queue with comfortability and fun, it is recommended that participants should offer drinking fountains, places to rest (benches) and other services as well as give exhibition- related entertainment including the presentation on the pavilion and events.
3-3-2. Line of Flow Service Providers and BoH
| C-15 | As a rule, carrying goods in and waste out of the pavilion must take place before or after its opening hours.
| C-16 | All the BoH areas must be hidden from visitors’ view and designed so as to transport goods without trouble. (Transportation of goods within the BoH areas must not be deterred by kerbs, bumps, steep slopes, narrow doorways or other obstacles.)
| C-17 | Waste must be stored within the plot. The storage of waste must have structure and size that can avoid the leakage of offensive odour and/or liquid and be established indoor.
| C-18 | Hazardous waste must not be stored within the plot. All of the waste must be stored in the place hidden from visitors’ view.
| C-19 | Pavilions must be designed to include a driveway for emergency vehicles.
| G-10 | Based on the plan for the lines of flow of service providers in the venue, it is recommended that participants should secure a BoH entrance that allows loading and unloading goods from the routes defined in the plot sheet. It is also recommended that the pavilion should be designed to clearly distinguish the BoH and the FoH.
| G-11 | If a driveway for vehicles of service providers to load and unload goods is necessary, it is recommended that the participant should secure a driveway space within its plot.
| G-12 | G-12 It is recommended that the storage should be designed to accommodate inventory of more than two days of merchandise and non-daily foods as well as expendable supplies.
3-3-3. Disaster Prevention ans Security
| C-20 | Participants must install appropriate equipment for disaster prevention and security of the pavilion.
| C-21 | As a rule, participants must not install equipment or apparatus that uses fire such as stoves, boilers and internal combustion engines. However, this does not apply when participants take necessary measures to secure the evacuation of users and prevent the spread of fire to other rooms from the room equipped with such equipment or apparatus that uses fire.
3-3-4. Parking of Small Mobility Vehicles and Alike
| G-13 | It is recommended that participants should secure a space where small mobility vehicles such as mobility scooters can be parked.
3-4.Environmental Consideration
3-4-1. Ensureing Comprehensive Enviromental Efficency
| C-22 | Participants must have its buildings assessed using the Comprehensive Assessment System for Built Environment Efficiency (CASBEE® for Temporary Construction) and ensure that they satisfy environmental efficiency of Rank A or above. Participants must report assessment results to the Organiser.
3-4-2. Energy and Global Enviroment
| C-23 | Participants must install equipment and apparatus with high energy efficiency.
| G-14 | In order to achieve carbon neutrality, it is recommended that participants should proactively pursue energy saving and the adoption of renewable energies in designing their pavilion.
| G-15 | It is recommended that participants should adopt heat insulating/shielding methods and materials for the pavilion exterior (roof/outer wall/window/floor) or introducing eaves etc. as sunshine blinds to reduce heat loss/gains.
| G-16 | It is recommended that participants should adopt methods that use natural energy such as natural ventilation and natural lighting.
| G-17 | It is recommended that participants should adopt renewable energy systems such as solar power generation and wind power generation.
| G-18 | It is recommended that participants should adopt the EMS (energy management system) that enable monitoring of energy usage by intended use (air conditioning, ventilation, lighting, hot-water supply, wall sockets, etc.) and/or by apparatus.
| G-19 | It is recommended that participants should adopt equipment with lower ozone depletion potential and global warming potential values.
| G-20 | It is recommended that participants should install equipment with low NOx emissions.
3-4-3. Promotion of Resource Recycling and 3R
| C-24 | Participants must utilise more than two types of recycled materials as construction materials.
| C-25 | Participants must adopt construction structure/methods that allow easy separation of scrap materials when demolishing the pavilion.
| C-26 | Participants must install water-saving sanitary appliances. Participants must install water-saving pieces in the key water taps as well as adopt water-saving equipment.
| G-21 | It is recommended that participants should proactively reuse equipment and structures.
| G-22 | It is recommended that participants should consider planting trees on the exterior and plants on the roof and walls that can be easily transplanted and transferred.
| G-23 | It is recommended that participants should proactively utilise recyclable natural materials such as wood, paper and clay. Concerning the use of wood in particular, participants should use sustainable wood such as wood with reputable certification.
| G-24 | It is recommended that participants should avoid using materials with significant environmental footprint and those with low degradability.
| G-25 | It is recommended that participants should lease or rent equipment. Participants should consider feasibility of leasing/renting not only equipment but also a wide variety of items such as structures.
| G-26 | It is recommended that participants should proactively utilise rainwater.
3-4-4. Protection against the Heat
| C-27 | Participants must install sunshade devices such as eaves, blinds and pergolas in the queuing area.
| G-27 | It is recommended that participants should reduce exhaust heat.
| G-28 | It is recommended that participants should take precautions against the heat by implementing such measures as the adoption of water retentive pavement.
| G-29 | It is recommended that participants should take precautions against the heat by utilising greenery such as creating the shade of trees and implementing wall-surface greening.
| G-30 | It is recommended that participants should take precautions against the heat for visitors such as sprinkling of fine mist and/or water.
3-4-5. Ventilation
| C-28 | C-28 Participants must secure an indoor ventilation of 30 m3/h person by installing necessary ventilation equipment and openings in the wall that allow natural ventilation.
3-4-6. Measurement
| C-29 | If a participant uses fuel such as propane other than cooling water and electricity supplied by the Organiser, the participant must monitor the amount of fuel used by implementing such measures as the installation of a meter.
| C-30 | If a participant installs power generation facilities including those using renewable energy, the participant must monitor power generation output by implementing such measures as the installation of a meter.
| G-31 | If a participant utilises rainwater and/or reclaimed water, it is recommended that the participant should monitor the amount used by implementing such measures as the installation of a meter.
3-5. Construction Methods, Demolition and Removal
3-5-1. Construction Methods
| C-31 | Participants must participate in the mechanism established to communicate and coordinate with contractors (Communication and Coordination Council).
| C-32 | The land must be restored to the original conditions and returned to the owner after the Expo is over. Therefore, participants must choose a foundation technique that will allow them to remove the foundation after the Expo is over, whether it is a pile or spread foundation. Participants also must remove all devices and accessories attached to the foundation.
| C-33 | Participants are permitted to excavate only up to the depth of 2.5 m from the ground surface. However, that requirement excludes drilling holes for piling. Participants must also observe the Soil Contamination Countermeasures Act of Japan, because the Expo’s site is subject to the law.
3-5-2. Demoliton and Removal
| C-34 | When demolishing the pavilion, participants must remove all of the structures (both aboveground and underground) and restore the land to the original conditions at the time of handover.
| C-35 | Participants must ensure the health and safety of the workers and the general public and instruct the contractor to follow eco-friendly procedures in demolishing the pavilion.
| C-36 | Prior to the commencement of works (including temporary works and temporary enclosure works), participants must submit to the Mayor of Osaka a notification in accordance with the Construction Material Recycling Act.
※In the first submission, please fill in the confirmation column with symbols for applicable, non-applicable, and alternative measures. Please fill in (or attach separately) alternative measures, etc. in the Participant Comments column.
※In the second submission, please enter the symbol in the Confirmation column and enter the applicable book/drawing number, etc., or alternative measures, etc., if applicable, in the Participant's Comments column (attachments are acceptable).

## JPN
パビリオンタイプA（敷地渡し方式）の設計に係るガイドライン_2022年6月版 チェックリスト |  |  |  |  | 第 回（YY.MM.DD） |  | 統括業務用
| 番号 | 内容 | 参加者確認欄※ |  | 開催者確認欄 | 統括記入欄
|  |  | 〇適用 ー不適用・非該当 △代替措置有 | コメント欄※ （該当図書頁番号又は代替措置等を記入） | 確認 | 確認 〇確認済 ×要確認 | コメント欄
3. 設計に関する要件
3-1.設計の基本方針
3-1-1.設計の基本方針
| C-01 | 来場者サービス、アクセス動線、警備、消防・防災、清掃・ごみ管理等、パビリオンの適切な管理・運営に必要な措置をとらなければならない。
| C-02 | 計画地の地盤条件に合致した構造について検討し、建設・解体の条件を遵守しなければならない。（詳細は「付録編１地盤関連情報」を参照のこと）
| C-03 | 建築物等の工事に着手する前に建築の申請書を提出し、建築物等が建築基準関係規定に適合するものであることについて建築主事又は指定確認検査機関（国土交通大臣又は都道府県知事が指定した者）の確認を受け、『確認済証』の交付を受けなければならない。
| C-04 | 新材料や構法を用いることにより建築基準法の規定に適合しない部分が生じる場合、事前に国土交通大臣の認定を受けなければならない。 （建築基準法第38 条関連）
| G-01 | パビリオンは必ずしも大型である必要はなく、大阪・関西万博のテーマ及びサブテーマを踏まえ、自国の建築物や景観、文化、資源を美的に表現するとともに、会場内の連続した景観を形成することが望ましい。
| G-02 | 資材や工法について、自然素材やリユース・リサイクル可能な素材、構造や工法を積極的に採用することが望ましい。 （詳細は「3-4.環境配慮:資源循環・３R の推進」を参照のこと）
| G-03 | だれもが快適に安心して博覧会を楽しむことができるよう、ユニバーサルデザインに配慮した計画とすることが望ましい。 （詳細は「施設整備に関するユニバーサルデザインガイドライン」を参照のこと）
3-2.計画条件
3-2-1.セットバック及び建築可能面積
| C-05 | パビリオン正面の主動線（メインストリート）、動線（メインストリート以外のストリート）又は広場との境界線から最低10ｍ（区画（小）は最低5ｍ）のセットバックを確保しなければならない。ただし、角地においては一面のみで可とし、主動線に面する角地は主動線側とする。
| C-06 | C-05 に規定する境界線以外（隣接する区画及び背面のサービス動線等）においては境界線から最低1ｍのセットバックを確保しなければならない。
| C-07 | 建蔽率は７０％以内としなければならない。
| C-08 | 各区画のセットバックの詳細、敷地面積、建蔽率（最大建築可能面積）は、各プロットシートに明記されたものとしなければならない。
| C-09 | 来場者がパビリオンワールド内の主動線（メインストリート）又は広場からアクセスしやすいよう計画しなければならない。
3-2-2. 建物の高さ及び規模
| C-10 | パビリオンの高さは12ｍ以内としなければならない。ただし、12m を超える部分の水平投影面積の合計が当該パビリオンの建築面積の１／２以内の場合においては、パビリオンの最高高さは、主動線（メインストリート）内側に位置する場合は17ｍ以内、主動線の外側に位置する場合は20m 以内とすることができる。
| C-11 | 階数は自由であるが、定められた高さ制限内としなければならない。
| G-04 | 主動線（メインストリート）上部の大屋根（リング）上には空中歩廊が巡り、パビリオン群が立ち並ぶ会場を俯瞰することができることから、パビリオン屋上やパビリオン背面側の外壁等について、景観的な配慮（仕上げ、緑化、設備目隠し等）を行うことが望ましい。
3-2-3. 区画境界線の条件
| C-12 | 緊急車両のアクセスや適切な避難ルートを確保するため、パビリオンの正面側（主動線（メインストリート）又は広場に面する部分）及び背面側（サービス動線に面する部分）の境界には連続的な柵やフェンス等を設置してはならない（柵やフェンス等を設置する場合は、十分な間口幅を持つ出入口を複数設けること）。ただし、パビリオン管理等のために必要な場合、隣接する区画に沿って連続的な柵やフェンスを設けることは可とする。
| C-13 | 主動線（メインストリート）又は広場に面するパビリオンの正面の境界線では、パブリックスペースとの融合を重視した景観を設計しなければならない。
| G-05 | 隣接する区画を割り当てられた参加者との協力や調整を行うことが望ましい。
3-2-4. 配棟計画（マッシング）の考え方
| G-06 | 配棟計画（マッシング）は、多岐にわたるケースを踏まえ検討を行うことが望ましい。
3-3.運営上の設計配慮
3-3-1. 行列管理
| C-14 | 行列が生じる場合は、それぞれのパビリオンの区画内に収めなければならない。
| G-07 | 行列エリアはフルーインのサービス水準D に基づき設計することが望ましい。
| G-08 | 予約サービスによりできるだけ行列を生じさせないようにすることが望ましい。
| G-09 | 行列エリアの来場者に待ち時間の快適性や楽しみを提供するため、給水や休憩場所（ベンチ）等のサービスの他、パビリオンやイベントの紹介等、展示計画と連動した工夫をすることが望ましい。
3-3-2. サービス動線、BoH
| C-15 | 原則、物品搬入及び廃棄物搬出は開館前及び閉館後としなければならない。
| C-16 | すべてのBoH エリアは来場者から見えないよう適切に隠され、物品の移動に支障が無いよう計画しなければならない。 （BoH エリア内の移動は縁石や段差、急勾配、狭い出入口、又はその他の障害物により妨げられないようにすること。）
| C-17 | 廃棄物は区画内に貯蔵すること。廃棄物の保管エリアは、悪臭や液体が漏出しない構造・寸法とし、屋内に配置しなければならない。
| C-18 | 危険廃棄物は区画内に貯蔵してはならない。すべての廃棄物は来場者から見えない場所に保管しなければならない。
| C-19 | 緊急車両の車寄せが可能な設計としなければならない。
| G-10 | 会場内のサービス動線計画に基づき、プロットシートに定められたルートからの搬出入が可能な位置にBoH 出入口を設けること。かつ、建物正面（FoH）との区別を明確にすることが望ましい。
| G-11 | 搬出入などサービス車両の車寄せが必要な場合、自己の区画内にスペースを確保することが望ましい。
| G-12 | 倉庫は、物販及び飲食の提供に要する日配食品以外の製品並びに消耗品について2 日間以上の在庫要件に対応するよう計画することが望ましい。
3-3-3. 防災・セキュリティ
| C-20 | パビリオンの防災・セキュリティに関して、適切な設備の導入を行わなければならない。
| C-21 | 原則として、コンロやボイラー、内燃機関など火を使用する設備又は器具を設けないこと。ただし、当該火を使用する設備又は器具を設けた室について使用者の避難及びその他の室への延焼を防止する措置を講じた場合は、この限りではない。
3-3-4. 小型モビリティ等の駐機スペース
| G-13 | 小型モビリティ（ハンドル型電動車いす等）を置くことができるスペースを確保することが望ましい。
3-4.環境配慮
3-4-1. 総合環境性能の確保
| C-22 | 建築環境総合評価システム（CASBEE®-短期使用）により評価を行い、建築物環境効率ランクA以上としなければならない。評価結果は協会に報告しなければならない。
3-4-2. エネルギー・地球環境
| C-23 | エネルギー消費性能の高い設備機器を採用しなければならない。
| G-14 | 温室効果ガスの排出実質ゼロ（カーボンニュートラル）を目指す取組として、パビリオンの設計においては、建物の省エネルギー化や再生可能エネルギーの導入を積極的に検討することが望ましい。
| G-15 | 建築外皮（屋根・外壁・窓・床）は、断熱性・遮熱性の高い工法・資材の採用や、庇等による日射遮蔽を行い、熱損失・熱取得の低減を図ることが望ましい。
| G-16 | 自然通風や自然採光等の自然エネルギーを直接利用する手法を採用することが望ましい。
| G-17 | 太陽光発電や風力発電等の再生可能エネルギー設備を導入することが望ましい。
| G-18 | 用途別（空調、換気、照明、給湯、コンセント等）や機器別のエネルギー使用状況を把握できるEMS（エネルギー監視システム）を導入することが望ましい。
| G-19 | オゾン破壊係数および、地球温暖化係数のより小さい資機材を採用することが望ましい。
| G-20 | 低NOx 仕様機器を採用することが望ましい。
3-4-3. 資源循環・3Rの推進
| C-24 | 建築資材においてはリサイクル資材*を2 品目以上使用しなければならない。
| C-25 | 解体時に分別しやすい建築構造・工法を採用しなければならない。
| C-26 | 節水型衛生器具を採用しなければならない。節水コマを主要水栓に設けることに加え、省水型機器を採用しなければならない。
| G-21 | 資機材や建築物のリユースを積極的に行うことが望ましい。
| G-22 | 外構に用いる樹木や屋上・壁面緑化に用いる植物は、移植や移設を前提として設計することが望ましい。
| G-23 | 木材や紙、土など自然界で再生可能な資材を積極的に活用することが望ましい。特に木材使用においては、認証木材等、持続可能性に配慮した木材を採用すること。
| G-24 | 環境負荷の大きい材料や難分解性の素材の使用回避に努めることが望ましい。
| G-25 | リース・レンタル資機材を利用することが望ましい。資機材だけでなく建築物も含め幅広くリース・レンタルの可能性を検討することが望ましい。
| G-26 | 雨水を積極的に利用することが望ましい。
3-4-4. 暑さ対策
| C-27 | 行列エリアには日射抑制（日除け用の庇、すだれ、パーゴラ等）を設けなければならない。
| G-27 | 人工排熱量を低減することが望ましい。
| G-28 | 舗装エリアには保水性舗装を採用するなど地表面の暑熱対策を実施することが望ましい。
| G-29 | 樹木による緑陰形成や壁面緑化など、緑を取り入れた暑熱対策を実施することが望ましい。
| G-30 | 微細ミストや散水など、来場者への暑熱対策を実施することが望ましい。
3-4-5. 換気
| C-28 | 必要な換気設備や自然換気可能な開口を設け、屋内における換気量30 ㎥／h・人を確保しなければならない。
3-4-6. 計量
| C-29 | 協会が供給する冷水・電気以外に燃料（プロパンガス等）の使用がある場合は、計量器を設置するなどにより、その使用量を把握しなければならない。
| C-30 | 発電設備（再生可能エネルギー等を含む）を設置する場合は、計量器を設置するなどにより、その発電量を把握しなければならない。
| G-31 | 雨水・再生水を用いる場合は、計量器を設置するなどにより、その使用量を把握することが望ましい。
3-5. 工法、解体及び撤去
3-5-1. 工法
| C-31 | 施工者の連絡調整等を行うために組成する仕組み（連絡調整協議体）に参加しなければならない。
| C-32 | 会期終了後には、現状復旧し、土地を返却しなければならない。そのため、杭基礎で施工する場合は、引抜き可能な工法とし、直接基礎で施工する場合も同様に撤去可能な工法とする。また、これらの基礎及びその付帯施設などはすべて撤去する。
| C-33 | 掘削範囲は、地表面から2.5m 以内としなければならない。ただし、杭の施工のための削孔を除く。 また、会場内は土壌汚染対策法の区域指定を受けているため、同法を遵守し適切に措置しなければならない。
3-5-2. 解体及び撤去
| C-34 | パビリオン解体の際は、すべての建造物（地上、地下）を撤去し、受け渡し当初と同様の状態に復旧しなければならない。
| C-35 | 作業員及び公衆の安全衛生を確保し、環境に配慮したパビリオンの解体方法について示さなければならない。
| C-36 | 工事着手（仮設・仮囲工事などを含む）の前に建設リサイクル法に基づく届出を大阪市⾧に提出しなければならない。
※第1回提出時においては、確認欄に適用、不適用・非該当、代替措置の記号による記入をお願いします。参加者コメント欄には、代替措置等を記入（別添も可）ください。
※第2回提出時においては、確認欄に記号の記入とともに、参加者コメント欄には、適用する場合の該当図書・図面番号等、又は、代替措置等を記入（別添も可）ください。